June 30, 2021

# Client Notice

# Discontinuation of Urine SSA cascaded test

Effective July 5, 2021, LifeLabs will discontinue Urine Sulfosalicylic Acid (SSA) cascaded test used to confirm elevated protein on the chemical urinalysis screen when urine pH is ≥ 8.0.

This decision is based on:

- Highly manual test with subjective interpretation, considered historical and no longer recommended to laboratories.1-3

- Very low rate of detection of false positive protein urinalysis screens at LifeLabs (0.2 – 0.4 % of all chemical urinalysis tests).

- Availability of quantitative urine protein tests (random and 24-h) with superior sensitivity, to confirm a clinical suspicion of proteinuria.

Effective July 5, 2021, LifeLabs will provide the following interpretive comment with all urinalysis detectable protein levels in the context of urine pH ≥ 8.0:

“pH ≥ 8.0 can cause a false positive protein result.  Please repeat with random urine protein or 24-hr urine protein for investigation of proteinuria if clinically indicated."

For further information, please contact the LifeLabs clinical biochemist below, or LifeLabs Customer Care Centre at 1-877-849-3637.

We welcome your feedback!

References:

- Naderi ASA and Reilly RF: Primary Care Approach to Proteinuria. J Am Board Fam Med 2008; 21: 569-574

- Strasinger SK and Shaub Di Loenzo M: Clinical Examination of Urine. In: Urinalysis and Body Fluids, by Strasinger SK and Shaub Di Lorenzo M, 7th ed., F.A. Davis Company, Philadelphia, PA, USA, 2021: pg 146.

- CLSI: Urinalysis; Approved Guideline – Third Edition. CLSI document GP16-A3. Wayne, PA, USA. Clinical and Laboratory Standards Institute; 2009.

Kika Veljkovic PhD FCACB

Clinical Biochemist and Discipline Head, High Volume Chemistry

Medical-Scientific Department - Ontario

LifeLabs | 100 International Blvd. | Toronto, ON M9W 6J6

T   416-675-4530 Ext. 42832 | F  416-213-4206

E  Kika.Veljkovic@LifeLabs.com